OFFERORS UTILIZING COMPUTERIZED PRICING SOFTWARE IN LIEU OF A COMMERCIAL PRICE LIST, MUST SUBMIT PRICING SAMPLES FOR THE FOUR SAMPLE BUILDING SPECIFICATIONS PROVIDED BELOW:

Building Sample 1

|  |  |  |  |
| --- | --- | --- | --- |
| Location: | Bossier | LA |  |
|  |  |  |  |
| Profile Type | Dbl Slope |  |  |
| Building Width | 114' 0" |  |  |
| Ridge Location | 57' 0" |  |  |
| Left Roof Slope | 1.000:12 |  |  |
| Left Actual Eave Ht. | 21' 0" |  |  |
|  |  |  |  |
| Building Length | 195' 0" |  |  |
| Ridge Height | 25' 9" |  |  |
| Right Roof Slope | 1.000:12 |  |  |
| Right Actual Eave Ht. | 21' 0" |  |  |
|  |  |  |  |
| LOADS |  |  |  |
| *Price Code/Year* |  |  | *IBC 12 International Building Code - 2012 Edition* |
|  |  |  |  |
| Use Category | 1 |  | General Use |
|  |  |  |  |
| Site Exposure | C |  |  |
| Coastal/Inland | D |  |  |
| Spectral Response Acceleration (Ss) | 17 |  |  |
| Spectral Response Acceleration (S1) | 8 |  |  |
| Seismic Importance Factor | 1.00 |  |  |
|  |  |  |  |
| Wind Speed | 90.00 | mph |  |
| Wind Importance Factor | 1.00 |  |  |
| Basic Wind Pressure | 16.06 | sf |  |
| Wind Enclosure |  |  | Enclosed |
|  |  |  |  |
| Live Load | 20.00 | sf |  |
| Ground Snow Load | 5.00 |  |  |
| Snow Importance Factor | 1.00 |  |  |
| Design Roof Snow Load | 5.00 | sf |  |
| Exposure of Roof |  |  | Partially Exposed |
| Thermal Condition |  |  | Normal (heated) |
| Collateral Load | 3.00 | sf |  |

Building Sample 2

|  |  |  |  |
| --- | --- | --- | --- |
| Location: | Orange | CA |  |
|  |  |  |  |
| Profile Type | Dbl Slope |  |  |
| Building Width | 100' 0" |  |  |
| Ridge Location | 50' 0" |  |  |
| Left Roof Slope | 1.000:12 |  |  |
| Left Actual Eave Ht. | 17' 0" |  |  |
|  |  |  |  |
| Building Length | 105' 0" |  |  |
| Ridge Height | 21' 2" |  |  |
| Right Roof Slope | 1.000:12 |  |  |
| Right Actual Eave Ht. | 17' 0" |  |  |
|  |  |  |  |
| LOADS |  |  |  |
| *Price Code/Year* |  |  | *IBC 12 International Building Code - 2012 Edition* |
|  |  |  |  |
| Use Category | 1 |  | General Use |
|  |  |  |  |
| Site Exposure | C |  |  |
| Seismic Zone | 4 |  |  |
| Soil Profile | D |  |  |
| Near Source Factor (NA) | 1.2 |  |  |
| Near Source Factor (NV) | 1.6 |  |  |
| Seismic Importance Factor | 1.00 |  |  |
|  |  |  |  |
| Wind Speed | 80.00 | mph |  |
| Wind Importance Factor | 1.00 |  |  |
| Basic Wind Pressure | 18.23 | sf |  |
| Wind Enclosure |  |  | Partially Enclosed |
|  |  |  |  |
| Live Load | 20.00 | sf |  |
| Ground Snow Load | 0.00 | sf |  |
| Snow Importance Factor | 1.00 |  |  |
| Design Roof Snow Load | 0.00 | sf |  |
| Exposure of Roof |  |  | Partially Exposed |
| Thermal Condition |  |  | Normal (heated) |
| Collateral Load | 5.00 | sf |  |

Building Sample 3

|  |  |  |  |
| --- | --- | --- | --- |
| Location: | Worcester | MA |  |
|  |  |  |  |
| Profile Type | Dbl Slope |  |  |
| Building Width | 25' 0" |  |  |
| Ridge Location | 12' 6" |  |  |
| Left Roof Slope | 1.000:12 |  |  |
| Left Actual Eave Ht. | 18' 0" |  |  |
|  |  |  |  |
| Building Length | 40' 0" |  |  |
| Ridge Height | 19' 0 1/2" |  |  |
| Right Roof Slope | 1.000:12 |  |  |
| Right Actual Eave Ht. | 18' 0" |  |  |
|  |  |  |  |
| LOADS |  |  |  |
| *Price Code/Year* |  |  | *IBC 12 International Building Code - 2012 Edition* |
|  |  |  |  |
| Use Category | 1 |  | General Use |
|  |  |  |  |
| Site Exposure | C |  |  |
| Coastal/Inland | Inland |  |  |
| Seismic Acceleration | 0.15 |  |  |
| Seismic Velocity | 0.15 |  |  |
| Soil Profile | S4 |  |  |
| Seismic Importance Factor | 1.00 |  |  |
|  |  |  |  |
|  |  |  |  |
| Wind Speed | 80.00 | mph |  |
| Wind Importance Factor | 1.00 |  |  |
| Basic Wind Pressure | 18.00 | sf |  |
| Wind Enclosure |  |  | Enclosed |
|  |  |  |  |
| Live Load | 20.00 | sf |  |
| Ground Snow Load | 50.00 | sf |  |
| Snow Importance Factor | 1.00 |  |  |
| Design Roof Snow Load | 35.00 | sf |  |
| Exposure of Roof |  |  | Partially Exposed |
| Thermal Condition |  |  | Normal (heated) |
| Collateral Load | 7.00 | sf |  |

Building Sample 4

|  |  |  |  |
| --- | --- | --- | --- |
| Location: | Forrest | MS |  |
|  |  |  |  |
| Profile Type | Dbl Slope |  |  |
| Building Width | 64' 0" |  |  |
| Ridge Location | 32' 0" |  |  |
| Left Roof Slope | 1.000:12 |  |  |
| Left Actual Eave Ht. | 22' 0" |  |  |
|  |  |  |  |
| Building Length | 160' 0" |  |  |
| Ridge Height | 24' 8" |  |  |
| Right Roof Slope | 1.000:12 |  |  |
| Right Actual Eave Ht. | 22' 0" |  |  |
|  |  |  |  |
| LOADS |  |  |  |
| *Price Code/Year* |  |  | *IBC 12 International Building Code - 2012 Edition* |
|  |  |  |  |
| Use Category | 1 |  | General Use |
|  |  |  |  |
| Site Exposure |  |  |  |
| Coastal/Inland |  |  |  |
| Seismic Acceleration | 0.05 |  |  |
| Seismic Velocity | 0.05 |  |  |
| Soil Profile | S4 |  |  |
| Seismic Importance Factor | 1.00 |  |  |
|  |  |  |  |
|  |  |  |  |
| Wind Speed | 88.00 | mph |  |
| Wind Importance Factor | 1.00 |  |  |
| Basic Wind Pressure | 17.66 | sf |  |
| Wind Enclosure |  |  | Enclosed |
|  |  |  |  |
| Live Load | 20.00 | sf |  |
| Ground Snow Load | 5.00 | sf |  |
| Snow Importance Factor | 1.00 |  |  |
| Design Roof Snow Load | 5.00 | sf |  |
| Exposure of Roof |  |  | Partially Exposed |
| Thermal Condition |  |  | Normal (heated) |
| Collateral Load | 3.00 | sf |  |