## 10_24_2017
Green Building Advisory Committee, Health & Wellness Task Group
Appendix A: Crosswalk Guidance Criteria for Existing Buildings
(Note: this document represents the deliberations of a task group to an independent advisory committee, and as such, may not be consistent with current GSA or other Federal agency policy. Mention of any product, service or program herein does not constitute endorsement.)
Date: October 24, 2017
Health & Wellness Impact Areas | Means for Achieving Guiding Principle | Guiding Principles for Sustainable Federal Bldgs | Applicable Guidelines, Standards, and Rating Systems
General Health & Wellness | Integrated Team Approach for Assessment, Operation and Management of Existing Buildings. | GP I. Employ Integrated Design Principles (NC)/Employ Integrated Assessment, Operation, and Management Principles (EB) | Fitwel: No specific requirement. Operational policies & recommendations included in each credit.
|  | 1. Integrated Design/ Integrated Assessment, Operation, and Management | WELL Building Standard v1: Mind Feature: Precondition 85 Integrative Design
DoD Unified Facilities Criteria 1-200-02 (Dec 2016): Chapter 2 Building Design & Construction 2-2 Employ Integrated Design Principles Chapter 3 Assessment of Existing Buildings for High Performance and Sustainable Building (HPSB) Compliance 3.2 Employ Integrated Assessment, Operation, and Management Principles
GSA PBS-P100 Facilities Standards (April 2017) Appendix Submission Requirements Integrated Design Review
Green Globes - NC 3.1 Project Management Green Globes - EB 4.0 Emissions, Effluents, & Pollutant Controls 4.12.5 Is there a Health & Safety Committee that meets regularly and carries our regular inspections of the property? 6.1 Environmental Management System
LEED v4: BD+C: New Construction (NC) Pilot Credit 108: Integrative Process for Health Promotion Credit: Integrative Process
ASHRAE/ICC/IES/USGBC 189.1 Informative Appendix F: Integrated Design
Health & Wellness Impact Areas | Means for Achieving Guiding Principle | Guiding Principles for Sustainable Federal Bldgs | Applicable Guidelines, Standards, and Rating Systems
Diet1 | Healthy Dining Options | GP IV. Enhance Indoor Environmental Quality 14. Occupant Health and Wellness Provide convenient access to: | FitWel 10. Cafeteria and Prepared Food Retail 11. Vending Machines and Snack Bars
|  | Healthy dining options | WELL Building Standard v1: Nourishment Feature 38 Fruits and Vegetables (Precondition) 39 Processed Foods (Precondition 44 Nutritional Information (Precondition) 45 Food Advertising (Precondition) 47 Serving Sizes (Optimization) 49 Responsible Food Production (Optimization) 51 Food Production (Optimization) 52 Mindful Eating (Optimization)
DoD Unified Facilities Criteria 1-200-02 (Dec 2016): Chapter 3 Employ Integrated Assessment, Operation, and Management Principles 3-5.4 Occupant Health and Wellness: Convenient Access to Healthy Dining Options
GSA PBS-P100 Facilities Standards (April 2017) Not addressed
GBI Addressing 2-5.4 and 2-2.1.1 Healthy Dining Options from the DoD UFC 1-200-02 in revised Guiding Principles Compliance Assessment Program.
LEED v4: EBOM (except Schools) Pilot Credit 82: Local Food Production
ASHRAE/ICC/IES/USGBC 189.1 Not addressed
Diet | Potable Water | GP IV. Enhance Indoor Environmental Quality 14. Occupant Health and Wellness Provide convenient access to: Potable water | FitWel 9 Water Supply 10 Cafeteria and Prepared Food Retail 11 Vending Machines and Snack Bars
WELL Building Standard v1: Water Feature 30 Fundamental Water Quality (Precondition) 34 Public Water Additives (Optimization) 36 Water Treatment (Optimization) 37 Drinking Water Promotion (Optimization)
DoD Unified Facilities Criteria 1-200-02 (Dec 2016): Chapter 3 Employ Integrated Assessment, Operation, and Management Principles 3-5.4 Occupant Health and Wellness: Convenient Access to Potable Water
GSA PBS-P100 Facilities Standards (April 2017) 3.7.5 Health and comfort: Ergonomics 3.7.5.2 Building Amenities: filtered hot/cold water dispensers = one of the High Performance options
Green Globes - EB 4.0 Emissions, Effluents, & Pollutant Controls 4.10 Is the drinking water safe? GBI Addressing 2-5.4 and 2-2.1.1 Access to Potable Water from the DoD UFC 1-200-02 in revised Guiding Principles Compliance Assessment Program.
LEED v.4: EBOM/NC Pilot Credit 105: Lead Risk Reduction
ASHRAE/ICC/IES/USGBC 189.1 6. Water Use Efficiency: limits on use of potable water for irrigation and in HVAC systems. Requirement for water bottle filling stations for half of all drinking fountains. (2017/Addendum 2014)
Health & Wellness Impact Areas | Means for Achieving Guiding Principle | Guiding Principles for Sustainable Federal Bldgs | Applicable Guidelines, Standards, and Rating Systems
Exercise2 | Stairwell Vertical Circulation | GP IV. Enhance Indoor Environmental Quality 14. Occupant Health and Wellness | FitWel 5 Stairwells
|  | Promote opportunities for occupants to voluntarily increase physical movement: Stairwells as a | WELL Building Standard v1: Fitness Feature 64 Interior Fitness Circulation (Precondition)
|  | desirable option for circulation. | DoD Unified Facilities Criteria 1-200-02 (Dec 2016): Chapter 2 Building Design & Construction 2-2 Employ Integrated Design Principles 2-2.1.1 Integrated Planning 2-2.1.4 Site Integration and Design of the Building Chapter 3 Employ Integrated Assessment, Operation, and Management Principles 3-5.4 Occupant Health and Wellness: Making stairwells a desirable option for circulation.
GSA PBS-P100 Facilities Standards (April 2017) 3.5 Interior Construction and Interior Finishes Performance Attributes 3.5.7 Promote the Use of Stairs
GBI Addressing 2-5.4 and 2-2.1.1 Stairwell Vertical Circulation from the DoD UFC 1-200-02 in revised Guiding Principles Compliance Assessment Program.
LEED v.4: EBOM/NC Pilot Credit 78: Design for Active Occupants
ASHRAE/ICC/IES/USGBC 189.1 Not addressed
Exercise | Active Workstations | GP IV. Enhance Indoor Environmental Quality 14. Occupant Health and Wellness | FitWel 7 Workspaces
|  | Promote opportunities for occupants to voluntarily increase physical movement: Active workstations | WELL Building Standard v1: Fitness Feature 71 Active Furnishings (Optimization)
DoD Unified Facilities Criteria 1-200-02 (Dec 2016): Chapter 2 Building Design & Construction 2-2 Employ Integrated Design Principles 2-2.1.1 Integrated Planning 2-2.1.4 Site Integration and Design of the Building Chapter 3 Employ Integrated Assessment, Operation, and Management Principles 3-5.4 Occupant Health and Wellness: Active Workstations
GSA PBS-P100 Facilities Standards (April 2017) Not addressed
GBI Addressing 2-5.4 and 2-2.1.1 Active Workstations from the DoD UFC 1-200-02 in revised Guiding Principles Compliance Assessment Program.
LEED v.4: EBOM/NC Not addressed
ASHRAE/ICC/IES/USGBC 189.1 Not addressed
Exercise | Access to Fitness Centers | GP IV. Enhance Indoor Environmental Quality 14. Occupant Health and Wellness Promote opportunities for occupants to voluntarily | FitWel 3 Outdoor Spaces 8 Shared Spaces
|  | increase physical movement: Fitness centers | WELL Building Standard v1: Fitness Feature 65 Activity Incentive Programs (Precondition) 66 Structured Fitness Opportunities (Optimization) 68 Physical Activity Spaces (Optimization) 70 Fitness Equipment (Optimization)
DoD Unified Facilities Criteria 1-200-02 (Dec 2016): Chapter 2 Building Design & Construction 2-2 Employ Integrated Design Principles 2-2.1.1 Integrated Planning 2-2.1.4 Site Integration and Design of the Building Chapter 3 Employ Integrated Assessment, Operation, and Management Principles 3-5.4 Occupant Health and Wellness: Fitness Centers
GSA PBS-P100 Facilities Standards (April 2017) 3.7.5 Health and comfort: Ergonomics 3.7.5.2 Building Amenities: one of the High Performance options
GBI Addressing 2-5.4 and 2-2.1.1 Access to Fitness Centers from the DoD UFC 1-200-02 in revised Guiding Principles Compliance Assessment Program.
LEED v.4: EBOM/NC Not addressed
ASHRAE/ICC/IES/USGBC 189.1 Not addressed
Exercise | Access to Bicycle Commuter Facilities | GP IV. Enhance Indoor Environmental Quality 14. Occupant Health and Wellness | FitWel 2 Building Access
|  | Promote opportunities for occupants to voluntarily increase physical movement: Bicycle commuter facilities | WELL Building Standard v1: Fitness Feature 69 Active Transportation Support (Optimization)
DoD Unified Facilities Criteria 1-200-02 (Dec 2016): Chapter 2 Building Design & Construction 2-2 Employ Integrated Design Principles 2-2.1.1 Integrated Planning Chapter 3 Employ Integrated Assessment, Operation, and Management Principles 3-5.4 Occupant Health and Wellness: Bicycle Commuter Facilities
GSA PBS-P100 Facilities Standards (April 2017) 3.7.5 Health and comfort: Ergonomics 3.7.5.2 Building Amenities: Locker/changing room = Baseline requirement
Green Globes - EB 1.0 Energy 1.18 Cycling Facilities
LEED v.4 EBOM Credit: Alternative Transportation LEED v.4 BD+C: NC and LEED v.4 ND Credit: Bicycle Facilities
ASHRAE/ICC/IES/USGBC 189.1 5.3.7 Mitigation of Transportation Impacts
Exercise | Mass Transit / Public Transportation Access & Walkability | GP I. Employ Integrated Design Principles (NC) 1. Integrated Design Principles (Sustainable Locations) | FitWel 1 Location 2 Building Access
WELL Building Standard v1: Fitness Feature 67 Exterior Active Design (Optimization)
DoD Unified Facilities Criteria 1-200-02 (Dec 2016): Chapter 5 Sustainable Installations 5-1 Overview Appendix B Best Practices B-1 Promote Sustainable Location and Site Development B-1.1 Evaluation of Site
GSA PBS-P100 Facilities Standards (April 2017) Chapter 2 Urban Development and Landscape Design 2.1 Urban Planning and Public Use Performance Requirements 2.2.1 Sustainable Locations 2.2.1.2 Site Supports Transit-Use and Reduced Automobile Commuting 2.2.1.3 Site Supports Neighborhood Connectivity and Walkability
Green Globes - EB 1.0 Energy 1.17 Public Transportation 1.19 Other Measures
LEED v.4 EBOM Sustainable Sites Credit: Alternative Transportation
ASHRAE/ICC/IES/USGBC 189.1 5.3.7 Mitigation of Transportation Impacts
Health & Wellness Impact Areas | Means for Achieving Guiding Principle | Guiding Principles for Sustainable Federal Bldgs | Applicable Guidelines, Standards, and Rating Systems
Smoking Reduction / Cessation | Restrictions on smoking within buildings | GP IV. Enhance Indoor Environmental Quality 13. Indoor Air Quality (Environmental Smoking Control: Prohibit smoking in any form within the building and within 25 feet of building entrances). | FitWel 3 Outdoor Spaces 4 Entrances and Ground Floor 6 Indoor Environment
WELL Building Standard v1: Air Feature 02 Smoking Ban
DoD Unified Facilities Criteria 1-200-02 (Dec 2016): Chapter 3 Employ Integrated Assessment, Operation, and Management Principles 3-5.3.4 Environmental Tobacco Smoke Control
GSA PBS-P100 Facilities Standards (April 2017) Not addressed
Green Globes - EB 5.6 Control of Pollutants at Source GBI Addressing 2-5.4 and 2-2.1.1 Environmental Tobacco Smoke Control from the DoD UFC 1-200-02 in revised Guiding Principles Compliance Assessment Program
LEED v.4 EBOM Indoor Environmental Quality Environmental Tobacco Smoke Control (Prerequisite)
ASHRAE/ICC/IES/USGBC 189.1 8.3.1.4 Prohibits Smoking
Additional Supportive Occupant Health Attributes related to the Built Environment found in the Guiding Principles
Health & Wellness Impact Areas | Means for Achieving Potential Outcome | Guiding Principles for Sustainable Federal Bldgs | Applicable Guidelines, Standards, and Rating Systems
In addition to other factors, exposure to daylight contributes to resetting of circadian rhythms, production of Vitamin D, and overall well-being. | Provide occupant access to daylight | GP IV. Enhance Indoor Environmental Quality 12. Daylighting and Lighting Controls 14. Occupant Health and Wellness | FitWel 3 Outdoor Spaces 7 Workspaces
|  | Provide convenient access to: Daylight | WELL Building Standard v1: Light Feature 60 Automated Shading and Dimming Controls (Optimization) 61 Right to Light (Optimization) 62 Daylight Modeling (Optimization) 63 Daylighting Fenestration (Optimization)
DoD Unified Facilities Criteria 1-200-02 (Dec 2016): Chapter 2 Building Design & Construction 2-5.2 Daylighting Chapter 3 Employ Integrated Assessment, Operation, and Management Principles 3-5.4 Occupant Health and Wellness: Convenient Access to Daylight
GSA PBS-P100 Facilities Standards (April 2017) 3.7 Workplace Performance Attributes 3.7.4 Health and Comfort: Environmental Controls 3.7.4.2 Lighting/Daylighting: employee access to natural daylight 3.7.6.2 Partitions and interior walls: Maximize natural light through placement & colors 6.2 Lighting Performance Attributes 6.2.2 Lighting Quantity 6.3 Lighting Prescriptive Requirements 6.3.1 Indoor Lighting and Daylighting Criteria 6.3.2.5 Lighting Controls
Green Globes - EB 5.0 Indoor Environment 5.8 Lighting Features GBI Addressing 2-5.4 Convenient Access to Daylight, 2-2.1.1 Integrated Planning, and 2-5.2 Daylighting from the DoD UFC 1-200-02 in revised Guiding Principles Compliance Assessment Program.
LEED v.4 EBOM Indoor Environmental Quality Credit: Daylight and Quality Views
ASHRAE/ICC/IES/USGBC 189.1 8.4.1 Daylighting
Health & Wellness Impact Areas | Means for Achieving Potential Outcome | Guiding Principles for Sustainable Federal Bldgs | Applicable Guidelines, Standards, and Rating Systems
Contribute to improved indoor air quality | Provide access to indoor and outdoor plants | GP IV. Enhance indoor Environmental Quality 14. Occupant Health and Wellness | FitWel 3 Outdoor Spaces
|  | Provide convenient access to: Plants | WELL Building Standard v1: Nourishment Feature 51 Food Production (Optimization) Mind Feature 88 Biophilia I - Qualitative (Precondition) 100 Biophilia II - Quantitative (Optimization)
DoD Unified Facilities Criteria 1-200-02 (Dec 2016): Chapter 2 Building Design & Construction 2-2.1.1 Integrated Planning: include how convenient access to plants is being considered and accommodated from the beginning of the design process. Chapter 3 Employ Integrated Assessment, Operation, and Management Principles 3-5.4 Occupant Health and Wellness: Convenient Access to Plants
GSA PBS-P100 Facilities Standards (April 2017) Not addressed
GBI Addressing 2-5.4 and 2-2.1.1 Convenient Access to Plants from the DoD UFC 1-200-02 in revised Guiding Principles Compliance Assessment Program.
LEED v.4 EBOM Pilot Credit 82: Local Food Production: EBOM Projects (except Schools)
ASHRAE/ICC/IES/USGBC 189.1 Not addressed.
Health & Wellness Impact Areas | Means for Achieving Potential Outcome | Guiding Principles for Sustainable Federal Bldgs | Applicable Guidelines, Standards, and Rating Systems
Views of nature contributing to overall well-being and healing (healthcare spaces) | Provide access to quality exterior views | GP IV. Enhance Indoor Environmental Quality 14. Occupant Health and Wellness Provide convenient access to: Exterior Views | FitWel 7 Workspaces 7.2 - Outdoor Views
WELL Building Standard v1: Light Feature 61 Right to Light (Optimization) Mind Feature 88 Biophilia I - Qualitative (Precondition) 100 Biophilia II - Quantitative (Optimization)
DoD Unified Facilities Criteria 1-200-02 (Dec 2016): Chapter 2 Building Design & Construction 2-2.1.1 Integrated Planning: include how convenient access to exterior views is being considered and accommodated from the beginning of the design process. Chapter 3 Employ Integrated Assessment, Operation, and Management Principles 3-5.4 Occupant Health and Wellness: Convenient Access to Exterior Views
GSA PBS-P100 Facilities Standards (April 2017) 3.7 Workplace Performance Attributes 3.7.6.2 Partitions and interior walls: Tier 3: Do not block access to views 6.2 Lighting Performance Attributes 6.2.1 Lighting Quality: 3 Tiers require access to views for 50-90% of regularly occupied areas
GBI Addressing 2-5.4 and 2-2.1.1 Convenient Access to Exterior Views from the DoD UFC 1-200-02 in revised Guiding Principles Compliance Assessment Program.
LEED v.4 EBOM Indoor Environmental Quality Credit: Daylight and Quality Views
ASHRAE/ICC/IES/USGBC 189.1 Not addressed. (Note: Requirements for views of the outdoors have been discussed extensively by the ASHRAE 189.1 Committee, but no proposed revision has been approved for public review.)
Health & Wellness Impact Areas | Means for Achieving Potential Outcome | Guiding Principles for Sustainable Federal Bldgs | Applicable Guidelines, Standards, and Rating Systems
Improved air quality and control of temperature | Provision of ventilation systems, control of pollutants, IAQ management, and controls for occupant thermal comfort | GP IV. Enhance Indoor Environmental Quality 11. Ventilation and Thermal Comfort: provide safe and healthy ventilation and thermal comfort. | FitWel 6 Indoor Environment 7 Workspaces
WELL Building Standard v1: Air Feature 01 Air Quality Standards (Precondition) 03 Ventilation Effectiveness (Precondition) 05 Air Filtration (Precondition) 13 Air Flush (Optimization) 14 Air Infiltration Management (Optimization) 15 Increased Ventilation (Optimization) 17 Direct Source Ventilation (Optimization) 18 Air Quality Monitoring and Feedback (Optimization) 21 Displacement Ventilation (Optimization) WELL Building Standard v1: Comfort Feature 76 Thermal Comfort (Precondition) 82 Individual Thermal Control (Optimization)
DoD Unified Facilities Criteria 1-200-02 (Dec 2016): Chapter 3 Employ Integrated Assessment, Operation, and Management Principles 3-5 Enhance Indoor Environmental Quality 3-5.1 Ventilation and Thermal Comfort
GSA PBS-P100 Facilities Standards (April 2017) 3.7.4 Health and Comfort: Environmental Controls 3.7.4.1 Ventilation and thermal comfort 5.2 Mechanical Performance Attributes 5.2.1 Temperature 5.2.2 Humidity Control 5.2.3 Air Movement 5.2.4 Pressure 5.2.5 Ventilation 5.2.6 Filtration
Green Globes - EB 5.0 Indoor Environment 5.1 Ventilation System 5.6 Control of Pollutants at Source 5.7 IAQ Management
LEED v.4 EBOM Indoor Environmental Quality Credit: Thermal Comfort Credit: Occupant Comfort Survey Credit: Minimum Indoor Air Quality Performance Pilot Credit: Learning Controls for Thermal Comfort
ASHRAE/ICC/IES/USGBC 189.1 8 Indoor Environmental Quality (ASHRAE Standard 62.1, 62.2, and 170) & ASHRAE Standard 55
Health & Wellness Impact Areas | Means for Achieving Potential Outcome | Guiding Principles for Sustainable Federal Bldgs | Applicable Guidelines, Standards, and Rating Systems
Improved air quality and reduce risk of exposure to radon. | Test for radon in buildings to mitigate high levels from occupied spaces | GP IV. Enhance Indoor Environmental Quality 13. Indoor Air Quality | FitWel 6 Indoor Environment
|  | (Radon: test for radon in buildings and mitigate high levels) | WELL Building Standard v1: Air Feature 01 Air Quality Standards (Precondition): Radon
DoD Unified Facilities Criteria 1-200-02 (Dec 2016): Radon not addressed.
GSA PBS-P100 Facilities Standards (April 2017) 3.3.3 Substructure: depressurization required when radon is present.
Green Globes - EB 4.0 Emissions, Effluents and Pollution Controls 4.7 Radon
LEED v.4 EBOM Indoor Environmental Quality Radon not addressed
ASHRAE/ICC/IES/USGBC 189.1 Section 8: Indoor Environmental Quality 8.3.4 Isolation of the Building from Pollutants in Soil
Health & Wellness Impact Areas | Means for Achieving Potential Outcome | Guiding Principles for Sustainable Federal Bldgs | Applicable Guidelines, Standards, and Rating Systems
Improved air quality and reduce and/or eliminate exposure to mold and mildew | Provide policies and strategies for moisture control | GP IV. Enhance Indoor Environmental Quality 13. Indoor Air Quality (Moisture Control: Establish policy and implement a | FitWel 6 Interior Environments 6.2 Provide an asbestos-free interior
|  | moisture control strategy to prevent building materials damage, minimize mold growth, and reduce associated health risks) | WELL Building Standard v1: Air Feature 06 Microbe and Mold Control (Precondition) 12 Moisture Management (Precondition) 16 Humidity Control (Optimization)
DoD Unified Facilities Criteria 1-200-02 (Dec 2016): Chapter 3 Employ Integrated Assessment, Operation, and Management Principles 3-3 Ventilation Air and Building Envelope Requirements 3-5 Enhance Indoor Environmental Quality 3-5.3 Indoor Air Quality 3-5.3.1 Moisture Control
GSA PBS-P100 Facilities Standards (April 2017) 3.2.4 Moisture and Condensate Control 3.2.4.1 Moisture Control Opaque Assemblies 3.3 Prescriptive Enclosure Requirements 3.3.1 Moisture Control 3.3.4 Wall Systems 3.3.4.2 Materials with Organic Content 3.3.4.3 Air/Moisture Barrier System 3.5.2.27 Acoustical Ceilings: includes moisture resistance
Green Globes - EB 1.0 Energy 1.8 Envelope 1.16 Maintenance Schedules 5.0 Indoor Environment 5.1 Ventilation System 5.6 Control of Pollutants at Source
LEED v.4 NC Energy and Atmosphere Credit: Existing Building Commissioning Credit: Existing Building Commissioning - Implementation Indoor Environmental Quality Credit: Indoor Air Quality Assessment
ASHRAE/ICC/IES/USGBC 189.1 Section 8: Indoor Environmental Quality 8.3.6 Moisture Control
Health & Wellness Impact Areas | Means for Achieving Potential Outcome | Guiding Principles for Sustainable Federal Bldgs | Applicable Guidelines, Standards, and Rating Systems
Improved air quality and reduction of off-gassing and exposure to VOCs | Selection of low-emitting materials | GP IV. Enhance Indoor Environmental Quality 13. Indoor Air Quality (Low-Emitting Materials: Use low-emitting materials for building modifications, maintenance, and | FitWel 6 Indoor Environment 6.3 Adopt and implement an Indoor Air Quality (IAQ) policy for the building
|  | operations. In particular, specify the following materials and products to have low pollutant emissions: composite wood products, adhesives, sealants, interior paints and finishes, solvents, carpet systems, janitorial supplies, and furnishings) | WELL Building Standard v1: Air Feature 01 Air Quality Standards (Precondition) 04 VOC Reduction (Precondition) 09 Cleaning Protocol (Precondition) 25 Toxic Material Reduction (Optimization) 26 Enhanced Material Safety (Optimization)
DoD Unified Facilities Criteria 1-200-02 (Dec 2016): Chapter 3 Employ Integrated Assessment, Operation, and Management Principles 3-5 Enhance Indoor Environmental Quality
GSA PBS-P100 Facilities Standards (April 2017) 5.2 Mechanical Performance Attributes 5.2.5 Ventilation: 3 tiers include low emitting materials requirements
Green Globes - EB 5.0 Indoor Environment 5.6 Control of Pollutants at Source 5.7 IAQ Management 6.0 Environmental Management System 6.2 Environmental Purchasing Green Globes - NC 3.7.2 Source Control and Measurement of Indoor Pollutants
LEED v.4 EBOM Indoor Environmental Quality Credit: Green cleaning - Products and Materials Credit: Indoor Air Quality Management Program Credit: Enhanced Indoor Air Quality Strategies LEED v.4 NC Credit: Low-emitting Materials
ASHRAE/ICC/IES/USGBC 189.1 Section 8: Indoor Environmental Quality 8.4.2 Materials
Health & Wellness Impact Areas | Means for Achieving Potential Outcome | Guiding Principles for Sustainable Federal Bldgs | Applicable Guidelines, Standards, and Rating Systems
Beneficial indoor air quality sustained in occupied buildings under construction. | Control of indoor air quality and impact on occupants during building alterations of existing spaces. | GP IV. Enhance Indoor Environmental Quality 13. Indoor Air Quality (Indoor Air Quality during Building Alterations: Establish a policy and implement necessary protocols to protect indoor air | FitWel 6 Indoor Environment 6.3 Adopt and implement an Indoor Air Quality (IAQ) policy for the building.
|  | quality during renovations, repairs, and alterations, and during occupancy) | WELL Building Standard v1: Air Feature 07 Construction Pollution Management 13 Air Flush (Optimization) 24 Combustion Minimization (Optimization)
DoD Unified Facilities Criteria 1-200-02 (Dec 2016): Chapter 2 Building Design & Construction 2-5 Enhance Indoor Environmental Quality 2-5.3.3 Protect Indoor Air Quality during Construction
GSA PBS-P100 Facilities Standards (April 2017) Not addressed
Green Globes - EB 5.0 Indoor Environment 5.6 Control of Pollutants at Source
LEED v.4 EBOM Materials and Resources Prerequisite: Facility Maintenance and Renovation Policy Credit: Solid Waste Management - Facility Maintenance and Renovation Pilot Credit: Clean Construction
ASHRAE/ICC/IES/USGBC 189.1 Section 10 Construction and Plans for Operation 10.3.1.5 Moisture Control 10.3.1.6 Construction Activity Pollution Prevention Idling of Construction Vehicles 10.3.1.7 Construction Activity Pollution Prevention: Protection of Occupied Spaces
Health & Wellness Impact Areas | Means for Achieving Potential Outcome | Guiding Principles for Sustainable Federal Bldgs | Applicable Guidelines, Standards, and Rating Systems
Reduce chemical exposure as part of pest management program utilized within buildings. | Complete and utilize an integrated pest management program within buildings. | GP IV. Enhance Indoor Environmental Quality 13. Indoor Air Quality (Integrated Pest Management: Use integrated pest | FitWel 3 Outdoor Spaces 3.7 Adoption of an integrated pest management plan
|  | management techniques as appropriate to minimize pesticide usage) | WELL Building Standard v1: Air Feature 09 Cleaning Protocol (Precondition) 10 Pesticide Management (Precondition) 22 Pest Control (Optimization) 28 Cleanable Environment (Optimization)
DoD Unified Facilities Criteria 1-200-02 (Dec 2016): Chapter 3 Employ Integrated Assessment, Operation, and Management Principles 3-5 Enhance Indoor Environmental Quality 3-5.3.3 Integrated Pest Management
GSA PBS-P100 Facilities Standards (April 2017) 2.5 Landscape Prescriptive Requirements 2.5.5 Pollinators 2.5.5.3 Supplemental Information and Other Considerations 2.5.5.3.4 Site Maintenance: includes IPM
Green Globes - EB 4.0 Emissions, Effluents and Pollution Controls 4.13 Pesticides
LEED v.4 EBOM Credit: Integrated Pest Management (IPM)
ASHRAE/ICC/IES/USGBC 189.1 Not addressed
Health & Wellness Impact Areas | Means for Achieving Potential Outcome | Guiding Principles for Sustainable Federal Bldgs | Applicable Guidelines, Standards, and Rating Systems
Reduce potential exposure and risk to occupants. | Utilize LCA evaluation of products as a basis for product selection. Complete and utilize a Green Purchasing program for supplies and products utilized within an existing building. | GP V. Reduce the Environmental Impact of Materials 15. Material Content and Performance Procure products and supplies that have a lesser or reduced effect on human health and the environment over their life cycle when compared with competing products or services that serve the same purpose, including | FitWel 6 Indoor Environment 6.3 Adopt and implement an Indoor Air Quality (IAQ) policy for the building. 6 Indoor Environment 6.4 Adopt and implement a Green Purchasing Policy
|  | products or services that serve the same purpose, including: i. Recycled Content and Comprehensive Procurement Guidelines ii. Biobased Content iii. Other Green Products | WELL Building Standard v1: Air Feature 04 VOC Reduction (Precondition) 09 Cleaning Protocol (Precondition) 11 Fundamental Material Safety (Precondition) 26 Enhanced Material Safety (Optimization) Mind Feature 97 Material Transparency (Optimization)
|  | iv. Ozone Depleting Compounds and High Global Warming Potential Chemicals | DoD Unified Facilities Criteria 1-200-02 (Dec 2016): Chapter 3 Employ Integrated Assessment, Operation, and Management Principles 3-6 Reduce Environmental Impact of Materials 3-6.1.1 Recycled Content 3-6.1.2 Biologically-Based Products 3-6.1.3 Other Sustainable Products 3-6.1.4 Ozone Depleting Substances 3-7 Address Climate Change Risk (risk assessment of location & mitigation plan)
GSA PBS-P100 Facilities Standards (April 2017) 3.4 Interior Performance Requirements: many specific materials requirements by building component (recycled, biobased, etc.), too numerous to list 5.2 Mechanical Performance Attributes 5.2.5 Ventilation: 3 tiers include low emitting materials requirements
Green Globes - NC 3.5 Materials & Resources 3.5.2 Interior Fit-out Path A: Performance Path for Interior Fit-Outs Life Cycle of Interior Fit-Out Path B: Prescriptive Path for Interior Fit-Outs Industry-wide and/or Product-specific EPDs Third-party certifications based upon multiple attribute standards developed by consensus based process (i.e. NSF/ANSI standards). Third-party certified life cycle product assessment (ISO 14040 and 14044) Green Globes - EB 6.1 Environmental Managaement System (EMS) Documentation 6.1.2 Stated goals and targets in policy? 6.1.2.4 Environmental purchasing? 6.1.2.5 Reduction in use and proper handling of hazardous products? 6.1.2.6 Training and education? 6.2 Environmental Purchasing NOTE: As part of GBI/ANSI Revision Committee: Risk Assessment for materials is included in the draft.
LEED v.4 NC Credit: Building Life-Cycle Impact Reduction Option 3. Building and Material Reuse Credit: Building Product Disclosure and Optimization - EPDs Credit: Building Product Disclosure and Optimization - Sourcing of Raw Materials Credit: Building Product Disclosure and Optimization - Material Ingredients Pilot Credit: Legal Wood Pilot Credit: Material Ingredients Product Manufacturer Supply Chain Optimization Pilot Credit: Integrative Analysis of Building Materials Pilot Credit: Building Material Human Hazard & Exposure Assessment Pilot Credit: Certified Multi-attribute Products and Materials LEED v.4 EBOM Credit: Purchasing - Facility Maintenance and Renovation Credit: Purchasing - Ongoing
ASHRAE/ICC/IES/USGBC 189.1 9 The Building's Impact on the Atmosphere, Materials, and Resources 9.4 Prescriptive Option 9.4.1 Reduced Impact Materials 9.4.1.1 Recycled Content and Salvaged Material Content 9.4.1.2 Regional Materials 9.4.1.3 Biobased Products 9.4.1.4 Multiple-Attribute Product Declaration or Certification (EPD, NSF/ANSI Standards, Product Life Cycle) 9.5 Performance Option 9.5.1 Life-Cycle Assessment (LCA)